# Data mining in ECG data

G. Nikolaou#1, S. Vasileiadou#2, C. Alafodimos#3, D. Tseles#4

# Piraeus University of Applied Sciences, Department of Automation Engineering

P.Ralli & Thivon 250, 122 44 Egaleo, Athens, Greece

1 nikolaou@teipir.gr 2 svasil@teipir.gr 3 calafod@teipir.gr 4 dtsel@teipir.gr

Abstract: Electrocardiography (ECG) is a data source that can contain valuable knowledge for the body function and can reveal information for several diseases. It has been used across the years to diagnose cardiovascular diseases and to prognose upcoming abnormalities. Along with the evolution of data processing methods, data mining algorithms in ECG data have been used in the last three decades. This work investigates this area of research with the aim to realize the advances through time and present current research trend. The area of data mining is first presented and a brief introduction of the main algorithms is given. The focus of this work is placed on the different frameworks and models used in the area, namely signal processing approaches, morphological based processing and data mining. Literature shows a trend towards real-time diagnosis based on portable devices. Technology evolution provides portable computational power that can be used for real-time data processing and a number of research studies in this topic are presented. This work concludes with some remarks in this area and its future evolvement.

Keywords: Medical Data Mining, ECG Data, Arrhythmia, Real-time diagnosis

# Introduction

Twentieth century was characterized as the century of information. Loads of data were collected and information was exchanged in several aspects. Information technology had an explosive evolution developing a number of methods to handle and process this data. Knowledge Discovery Databases (KDD), Machine Learning (ML), Pattern Recognition (PR), Data Mining (DM) etc. are only some of the uprising methods developed for data processing and knowledge extraction that can be used for automated decision making. Like in every other field, implementation was tested in medical data in cases were diagnosis and prognosis can have a major effect on human’s health. In this work this field of research is presented by presenting a number of applications from different algorithms and different medical data models. The evolution of applications is recorded concluding on the latest trend which is the real-time diagnosis through portable devices.

# Medical Data

Medical data are gathered every day in big batches in several hospitals and medical centers around the world. They hide patterns and correlations to human health that are not always straightforward at the time of collection. From the early 90s’ along with the evolution of computers and the informatics science, methods and algorithms have been developed to study underlying patterns and understand the human health system. Initially, statistical methods where used, followed by more sophisticated data mining and machine learning algorithms. The introduction of data mining brought up a number of characteristics on the data analysis that made those methods attractive. Illhoi et al. carry out a survey on the medical literature where they define the four main characteristics that differentiate data mining to statistics, justifying the domination of such methods, due to their offering advantages on medical applications [1]. First, the use of heuristics on data mining allows resolving real world problems in a better manner. Second, data mining algorithms can handle large data sets in a more efficient way while statistics aim to work with data samples of the population. Third, statistics use purely numeric data while data mining methods can use a combination of categorical and numeric data; something that is commonly used in medical data bases. Finally, statistics is a deductive method while data mining makes inductive conclusions, meaning that data mining can use specific cases to generalize. In the following part an overview of data mining is presented.

# Data Mining Algorithmic Overview

Data mining has been given several definitions since it emerged in the 90s. A commonly accepted one has been given by Hand et al. and states that “data mining is the analysis of observational data sets to find unsuspected relationships and to summarize the data in novel ways that are both understandable and useful to the data owner” [2]. Data mining, knowledge discovery and machine learning are areas which are interrelated and algorithms from one category can fall into another.

The main two types of algorithms used in data mining are classification and clustering. In classification, the algorithm trains a data model that can be used to classify any new data set to one of the classes. The data classes are predefined and the data have to be annotated for the algorithm to work. In other words some initial knowledge, usually expert’s domain knowledge, is required to preprocess the data set. In clustering methods the algorithm receives a batch of data which are not annotated and the algorithm aims to find commonalities that will allow clustering. Medical data and especially arrhythmia data for model training are annotated with the belonging heart disease (class) and classification methods are commonly used. Some of the most commonly used algorithmic types are briefly presented in this part.

Bayesian classifier: This is a probabilistic classifier based on Bayes theorem of probabilities. The classifier is based on the assumption of conditional independent amongst features which reduces the computational complexity of probabilities. Its simplicity makes it one of the mostly used classifiers which however requires a very strong assumption that is difficult to obtain in real world applications.

Decision Trees: A decision tree classifier is a flow chart type diagram that based on some data features splits into branches which end to different classes. The splitting point and features is a matter of the algorithm and its efficiency. ID3 (Iterative Dischotomiser) is the first decision tree algorithm and C4.5 is one of the mostly used algorithms. Reasons for that are the simplicity of understanding a decision tree due to its visual structure and the very low computational cost. They have a low computational cost on both its creation as well as its use. This is a significant advantage for real-time application.

Support Vector Machines (SVM): SVM is a classification algorithm reported in 92’ from Vapnik et al. [3] and is one of the most popular classification algorithms. The SVM constructs a hyperplane to classify data points with the aim to achieve the maximum distance from all the closest elements. In that way the seperatability between the class elements becomes maximum, something that is used as an indication of a good classifier. The SVM can generate a very good classifier but it can be computationally expensive with large data since it involves data matrix inversion.

Nearest Neighbor (NN): The NN classifier bases its results on every neighbor element of the testing element. The algorithm computes the distance between every element, based on which it decides in which class should the testing element be placed. The k number (number of neighbor element used for distance calculation) is an important part of the algorithm since the smaller the k, the more sensitive the algorithm is to noise. If k is big that means that the algorithm becomes computationally expensive and the algorithm will suffer from the curse of dimensionality. NN algorithm is very efficient with low dimensional problems but it can become very computationally expensive in larger dimensions.

Every classifier has different characteristics making each method attractive in different types of applications. In medical data and arrhythmia detection lots of different classifiers have been used with very good results. In the following part the ECG signal is presented along with main the arrhythmia types used for prognosis and diagnosis.

# ECG data

Electrocardiographic (ECG) data are used for diagnoses of heart diseases but also for prediction of upcoming heart disorders. An electrocardiographic signal (ECG) is what is called P-QRS-T wave and represents the cardiac function. The signal is composed of three main parts, the P wave the T wave and the QRS complex. Time intervals and duration are some of the ECG features used to classify the respective heartbeat. For instance, the QRS duration is normally between 0.06 to 0.1 sec., something that is used to observe abnormalities when it different. The structure of ECG showing the respective P, Q, R, S, T spots is presented in Figure 1 [5]. The heart rate signal getting from the ECG data is a non-stationary signal, meaning that it can vary through time and abnormalities do not always constantly appear [4]. The underlying pattern to a heart disease is not always straightforward. The features on an ECG signal and the morphology of the heart beat can be used to identify arrhythmia (abnormal heart rhythm) cases and diagnose heart diseases or prongnose upcoming malfunctions.

Figure 1 The structure of an ECG signal

A number of situations can be identified that can trigger the patient treatment. The heart beat classes are several and can vary in every study. Some of the most commonly used are Venticular tachycardia (VT), ventricular fibrillation (VF), atrial premature contraction (APC), premature ventricular contraction (PVC), supraventricular tachycardia (ST). The chosen number and types of classes is a good indication on which data mining method should be used, and can vary its performance.

# Data mining algorithms in arrhythmia

Data mining and machine learning technics for heart beat classification and arrhythmia disease diagnostics is an area of ongoing research with promising results in the last two decades. Literature presents several data mining algorithms focusing on classification techniques. The studies vary in the methodology, the number of classes, the used data features and the algorithm evaluation. These criteria make a significant difference on the final result and the type of application. Initially reported studies focused on the number of classes varying from 5 in the early nineties going up to 17 in latest reports. The evaluation criteria have been varying in time and according to the application. Accuracy, sensitivity and specificity are some of the main evaluation criteria.

Some applications focus more on the signal processing before the diagnostic stage. Cantzos et al. present an algorithm for processing ECG recordings for diagnostic purposes [6]. The proposed scheme is composed of two stages, first abnormality detection and then incident classification. The algorithm detects the abnormal heart beat segment based on a recursive stochastic time-series algorithms and the rest of the signal is discarded. The abnormal heart beat segment is then classified as normal, supraventricular, ventricular and fusion. Presented results show comparable behavior to other established algorithms. The advantage of this method is the less complex signal and used features and 50% less data. Dingfei et al. propose an auto regressive model to classify normal sinus rythms and cardiac arrhythmias. The proposed model shows a high detecting accuracy, varying from 93.2% to 100% [7].

Some other approaches focus on analyzing the morphology of the heart beat signal. This is because some arrhythmias cannot be identified based on the heart beat signal analysis or on the PQRST signal feature extraction. In morphological arrhythmias it is more appropriate to study and compare the morphology of the heart beat to identify the abnormality [8]. Karimifard et al. present a study where they develop a heartbeat model based on Hermitian basis function. The model parameters are then used as a feature vector on a k-NN classifier to realise the accuracy of the model. The classifier uses seven classes and achieves a sensitivity of 99% and specificity of 99.84%. Some model signals are presented in Figure 2 [8].

Figure 2 Heart beat and R beat modeling

A combination of morphological and dynamic features for arrhythmia classification is proposed by Ye et al. [9]. In their work they use a combination of tools for feature selection and finally heart beat classification. First, the signal is gone through a wavelet analysis to extract 136 morphological features. A Principal Component Analysis (PCA) is then used to reduce the number of features to 26. The 26 morphological features and 4 dynamic are finally imported to an SVM classifier composed of 14 classes.

Medical literature contains a number of studies on purely based data mining approaches without processing the heart beat signal or analyzing its morphological features. Guvenir et al. developed a supervised learning algorithm (VF15) using inductive learning based on expert’s notated data [10]. They compare the VF15 algorithm to a naïve Bayes and k nearest neighbor algorithm which they outperformed. Tsipouras et al. propose a data mining approach and implements a Support Vector Machines (SVM) algorithm on medical data to classify arrhythmic beats [11]. They use a BOXCQP algorithm [12] to solve the quadratic programming problem formed by SVM. Their work is based on two constraints, namely, they use RR interval signals and four classes. By sampling the ECG data and only using RR signals the proposed method is claimed to be faster and more unaffected by the presence of noise. The used classes are VF, PVC as these described above, NSR and 2o heart block. The NSR class is used to describe both normal heart beat but also heart beat that doesn’t fall into any of the previous categories but could still be problematic. The SVM algorithm performs with very high accuracy with a largest and shortest misclassification rate for the four classes to be 9.77% and 1% respectively. The experiments are carried out on the whole data base from the MIT-BIH arrhythmia database composed of 109.880 datasets.

Tang et al. present a classification study on medical data coming from patients with coronary heart disease [13]. They use a data set with 1723 cases and 71 attributes to compare the performance of a decision tree based algorithms. Additionally, they use a system reconstruction method to first weight the data and study its effect on the generated decision tree. They anticipate that weight data can improve the tree’s correction rate and get better results. In the presented experiments they test the algorithms of inductive trees (ID3), classification and regression tree (C4.5 and CART), Chi-square interaction detector (CHAID) and exhaustive CHAID. Results show that weigh data have a better correction rate (see Figure 1-a)) without though improving neither the tree’s depth nor the leaf number (see Figure 1-b) [13]).

Figure 3 a) Correction rate comparison of decision trees and b) Decision-tree algorithm parameters comparison

Another k-NN algorithm is reported by Park et al. [5]. The algorithm is adapted using locally weighted regression (LWR) to classify heartbeats according to their extracted features. The main contribution of their work is not on the algorithm per say but on the large number of classes. They use 17 classes since they analyse the whole ECG signal without partitioning it such as the RR interval methods. The large number of classes minimizes the unclassified cases and makes diagnostics more accurate.

# Real-time ECG classification

Initial studies on ECG data analysis, classification of heart diseases and heart beat rate, aimed to use medical data for diagnostics and disease prognosis based on a number of features. The initial success of, off-the-shelf algorithm implementation triggered more detailed studies focusing on algorithmic optimization. Additionally, another aspect brought out in more recent studies is the processing time. Data mining algorithms can be used for decision support on prognosis but can potentially be used for real time diagnosis. To achieve that two are the prerequisites; real time data collection and real time data processing.

Already since the 80s’ there were attempts towards this direction that have motivated future work. Pan and Tompkins developed an algorithm for real time QRS detection [14]. The algorithm is designed to be implemented in a hospital environment to diagnose patient’s real time data. The algorithm is implemented in a Z80 microprocessor offering very small processing power in comparison to contemporary microprocessors. The algorithm filters the signal to fetch slope, amplitude and width information, based on which the prognosis is made. Back in the 80s’ data mining techniques were not easy to use in portable microcontrollers due to low processing capabilities. However, technological evolution has provided the tools for more sophisticated algorithms and portable data processing.

Some works have been on that direction aiming for real time results. Karimifard et al. focus their work on achieving real-time data processing and achieve algorithmic processing time almost equal to 0.56 seconds [8]. They compare that, to the ECG beat time, which is longer, meaning that the algorithm’s processing time will be exported before next heartbeat. Going on step further, Rodriguez et al. present results from real-time ECG data classification on a Personal Digital Assistant (PDA) [15]. This application aims to realize the ability of evolving PDA devices to run the required steps to convert a portable device into a medical device. The proposed framework aims to perform an electrocardiogram beat and also classify the type of rhythm. There are two rising questions on such an application, these are if the classifier can be accurate and if it can perform results in real time. To answer that, the authors test a number of classifiers on WEKA software to choose the most accurate and faster. Four algorithms have comparably good performance, namely the decision tree C4.5, the IB1 nearest neighbour algorithm, a neural network algorithm and the LogiBoost algorithm based on a regression learning scheme. Amongst the above, C4.5 incorporated a number of characteristics (accuracy -92.73%, adequacy of representation language, rule flexibility, speed efficiency) to be finally chosen for further testing. Moreover, achieving real time processing on a PDA was further investigated. Authors recommend that to achieve real-time classification, the processing thread needs to end before the signal acquisition obtains the next package. Based on that strong constrain they run experiments while varying the acquisition time. Experiments are run on a PDA and a PC to compare performance. Results show that optimal results are achieved for 1 and 2 sec processing time generating a detection delay of 4.43 sec and 6.66 sec for the PC and PDA respectively.

With the development of portable processing capabilities through smart phones, real time, on the spot heart disease detection becomes realistic. Oresko et al. work in this direction and they present a framework for real time cardiovascular disease detection with the use of a wearable smart phone based platform [16].

# Conclusion

The use of data mining technics on medical applications shows very promising results on the early diagnosis of potential diseases. ECG data have been widely used to diagnose such abnormalities as well as for prognosis. Diagnosis of life threatening diseases requires real-time data processing in contrast to prognosis of heart diseases which happens offline. This is an important aspect of studies in the literature that can guide the choice of models and algorithms. The functional speed becomes a significant characteristic for a successful algorithm. Literature shows that real-time and on the spot diagnosis can happen with the newly introduced technological equipment. This can have a significant effect on human healthcare and prevent cardiovascular diseases. Current technology can allow for real time data capturing devices in low cost. Therefore, research should focus on using data mining algorithms to optimize results and find the relevant framework for optimal ECG data processing.

Acknowledgements

This research has been co-financed by the European Union (European Social Fund – ESF) and Greek national funds through the Operational Program “Education and Lifelong Learning” of the National Strategic Reference Framework (NSRF) – Research Funding Program: ARCHIMEDES III Investing in knowledge society through the European Social Fund.

# References

[1]	I. Yoo, P. Alafaireet, M. Marinov, K. Pena-Hernandez, R. Gopidi, J.-F. Chang, and L. Hua, “Data Mining in Healthcare and Biomedicine: A Survey of the Literature,” J. Med. Syst., vol. 36, no. 4, pp. 2431–2448, 2012.

[2]	D. Hand, H. Mannila, and P. Smyth, Principles of data mining. 2001.

[3]	B. E. Boser, I. M. Guyon, and V. N. Vapnik, “A Training Algorithm for Optimal Margin Classifiers,” Proc. 5th Annu. ACM Work. Comput. Learn. Theory, pp. 144–152, 1992.

[4]	U. Rajendra Acharya, K. Paul Joseph, N. Kannathal, C. M. Lim, and J. S. Suri, “Heart rate variability: a review,” Med. Biol. Eng. Comput., vol. 44, no. 12, pp. 1031–1051, 2006.

[5]	J. Park, K. Lee, and K. Kang, “Arrhythmia Detection from Heartbeat Using k-nearest neighbor clasifier,” in Bioinformatics and Biomedicine (BIBM), IEEE International Conference on, 2013.

[6]	D. Cantzos, D. Dimogianopoulos, and D. Tseles, “ECG Diagnosis via a Sequential Recursive Time Series – Wavelet Classification Scheme,” in EUROCON, IEEE, 2013, no. July, pp. 1770–1777.

[7]	D. Ge, N. Srinivasan, and S. M. Krishnan, “Cardiac arrhythmia classification using autoregressive modeling.,” Biomed. Eng. Online, vol. 1, p. 5, 2002.

[8]	S. Karimifard,  a Ahmadian, M. Khoshnevisan, and M. S. Nambakhsh, “Morphological heart arrhythmia detection using Hermitian basis functions and kNN classifier.,” Conf. Proc. IEEE Eng. Med. Biol. Soc., vol. 1, no. 4, pp. 1367–70, 2006.

[9]	C. Ye, M. T. Coimbra, and B. K. Vijaya Kumar, “Arrhythmia detection and classification using morphological and dynamic features of ECG signals.,” Conf. Proc. IEEE Eng. Med. Biol. Soc., vol. 2010, pp. 1918–1921, 2010.

[10]	H. a. Guvenir, B. Acar, G. Demiroz, and  a. Cekin, “A supervised machine learning algorithm for arrhythmia analysis,” Comput. Cardiol. 1997, vol. 24, pp. 433–436, 1997.

[11]	M. G. Tsipouras, C. Voglis, I. E. Lagaris, and D. I. Fotiadis, “Cardiac arrhythmia classification using support vector machines,” in The 3rd European Medical and Biological Engineering Conference, 2005, pp. 2–7.

[12]	C. Voglis and I. E. Lagaris, “Boxcqp : an Algorithm for Bound Constrained Convex Quadratic Problems,” in International Conference from Schientific Computing to Computational Engineering, 2004, no. September, pp. 8–10.

[13]	T. Tang and P. Wang, “A Comparative Study of Medical Data Classification Methods Based on Decision Tree and System Reconstruction Analysis,” Ind. Eng. Manag. Syst., vol. 4, no. 1, pp. 102–108, 2005.

[14]	J. Pan and W. J. Tompkins, “A real-time QRS detection algorithm.,” IEEE Trans. Biomed. Eng., vol. 32, no. 3, pp. 230–236, 1985.

[15]	J. Rodríguez, A. Goñi, and A. Illarramendi, “Real-time classification of ECGs on a PDA,” IEEE Trans. Inf. Technol. Biomed., vol. 9, no. 1, pp. 23–34, 2005.

[16]	J. J. Oresko, H. Duschl, and A. C. Cheng, “A wearable smartphone-based platform for real-time cardiovascular disease detection via electrocardiogram processing.,” IEEE Trans. Inf. Technol. Biomed., vol. 14, no. 3, pp. 734–40, May 2010.